## example
recordType | recordName | DESC | SCAN | INP | OUT | ZNAM | ONAM | ZSV | OSV | EGU
Comment
Comment | This is a comment line, you can put anything here
Comment | For the first column: "bi" means "binary input", the value is either 0 or 1; "ai" means "analog input", basically a floating point number; "bo" means "binary output"; "ao" means "analog output"
Comment
Comment | This column is PV name | Description, any text <= 40 characters | EPICS query period | PLC Tag for input (reading) PV | PLC Tag for output (writing) PV | human readable text for 0 value | human readable text for 1 value | severity for 0 value | severity for 1 value | Unit for "ai"/"ao" record
Comment | cannot be empty | could, but better not be empty | .1/.2/.5/1/2/5/10 second | for bi/ai | for bo/ao | could, but better not be empty | could, but better not be empty | NO_ALARM/MINOR/MAJOR | NO_ALARM/MINOR/MAJOR | "bi"/"bo" does not have unit
Comment |  | SCAN: cannot be empty; ZSV: empty means NO_ALARM; OSV: empty means NO_ALARM; EGU: empty if the quantity has no unit
Comment | bi example
bi | $(S):ech_bypassed | readback of ECH status | 1 second | Bypass_statuses[0] B 0 |  | NOT_BYPASSED | BYPASSED | NO_ALARM | MINOR
Comment | bo example
bo | $(S):key_pos | DESC: set key position; SCAN: 1 second; OUT: EPICS_Sys_fault_PLC_run_key_pos[0] B 12
Comment | ai example
ai | $(S):hepa_dpress_1 | DESC: readback of hepa differential pressure #1; SCAN: 1 second; INP: EPICS_sfty_to_std_real_tags[0]; EGU: psi
Comment | ao example
ao | $(S):abc | DESC: set abc; SCAN: 1 second; OUT: EPICS_sfty_to_std_real_tags[3]; EGU: psi
Comment | There are more complicated PVs like mbbi, mbbo, which represents multiple possible values, you can put the necessary information to a separate spreadsheet.

## motor
recordType | recordName | DESC | INP | DTYP | SCAN | PREC | OUT | ZNAM | ONAM | ZSV | OSV | EGU | DRVH
ai | $(S):Mot:EncPos-Ind | DESC: Encoder position; INP: @$(PLC) Local:2:I.Ch0Data; DTYP: EtherIP; SCAN: .5 second
bi | $(S):Mot:Enbld-Sts | DESC: Motor Status; INP: @$(PLC) SD4840E2_stepper_driver:I.Motor_1_input.Drive_Is_Enabled; DTYP: EtherIP; SCAN: .5 second
bi | $(S):Mot:CWMov-Sts | DESC: Motor Moving; INP: @$(PLC) SD4840E2_stepper_driver:I.Moving_CW; DTYP: EtherIP; SCAN: .5 second
bi | $(S):Mot:CCWMov-Sts | DESC: Motor Moving; INP: @$(PLC) SD4840E2_stepper_driver:I.Moving_CCW; DTYP: EtherIP; SCAN: .5 second
bi | $(S):Mot:MovCmpl-Sts | DESC: Motor Move complete; INP: @$(PLC) SD4840E2_stepper_driver:I.Move_Complete; DTYP: EtherIP; SCAN: .5 second
bi | $(S):Mot:Stp-Sts | DESC: Motor Stopped; INP: @$(PLC) SD4840E2_stepper_driver:I.Stopped; DTYP: EtherIP; SCAN: .5 second
ao | $(S):Mot:S-SP | DESC: Set speed; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.HMI_Set_Speed
ao | $(S):Mot:Rev-SP | DESC: Set number of revolutions; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.HMI_Revolutions_Steps
bo | $(S):Mot:RelMov-Cmd | DESC: Start relative motion; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.Motor_1_relative_move
bo | $(S):Mot:CWJog-Cmd | DESC: Start Jog clockwise; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.Motor1_jog_CW
bo | $(S):Mot:CCWJog-Cmd | DESC: Start jog counterclockwise; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.Motor1_jog_CCW
bo | $(S):Mot:ErrRst-Cmd | DESC: Reset errors; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.Motor_1_Reset_Errors
bo | $(S):Mot_Estop:Pressed-Sts | DESC: Emergency Stop; DTYP: EtherIP; SCAN: .5 second; OUT: @$(PLC) Program.MainProgram.Motor1_Stop_Button